Excavation/Trench Audit Checklist

| Prime Contractor: |  | Sub-Contractor: |  |
| --- | --- | --- | --- |
| Project Name: |  | Project Number: |  |
| Location of Trench: |  | Number of Crew Members: |  |
| Inspection Date: |  | Time: |  | College: |  |
| LACCD Regional Safety Manager: |  |

| Dimensions | Depth | Min.= | Max. = | Soil Type |  |  |  | Manual Test Measurement |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Top | Width= | Length= | Solid Rock |  | Type B |  | Penetrometer |  |
|  | Bottom | Width= | Length= | Type A |  | Type C |  | Thumb Penetration |  |

| HAZARDOUS CONDITIONS* (Visual Checks) | Yes | No | PERIMETER CONSIDERATIONS | Yes | No | N/A |
| --- | --- | --- | --- | --- | --- | --- |
| Saturated soil/standing or seeping water? |  |  | Spoils located at least 2’ away from edge? |  |  |  |
| Bulging walls? |  |  | Materials located at least 2’ away from edge? |  |  |  |
| Rapid drying / shrinkage? |  |  | Class 1, 2, or 3 perimeter protection in place? |  |  |  |
| Vibration from equipment / traffic? |  |  | Backhoe located at end of trench? |  |  |  |
| Cracked or fissured walls? |  |  | Spotter working with the backhoe? |  |  |  |
| Undercutting? |  |  | Exposed to the general public? |  |  |  |
| Floor heaving? |  |  | MPM requirements completed? |  |  |  |
| Super imposed loads? |  |  | LADDER/EGRESS LOCATION | Yes | No | N/A |
| Exposed utilities? |  |  | Located within protected area? |  |  |  |
| Atmospheric testing required? |  |  | Located within 25 feet of safe travel? |  |  |  |
| Structures adjacent to trench? |  |  | Extends 36” above landing and secured in place? |  |  |  |
| Trees or roots in the work area? |  |  | Maximum ramp angle without cleats 25°? |  |  |  |
| *If the hazards listed above result in a fall hazard or confined space, a corresponding Site Specific Fall Protection and Prevention Plan (SSFPPP) or Confined Space Plan (CSP) must be developed and accepted before work can commence. |

| SHORING | Yes | No | COLOR CODE FOR UTILITY MARKING based on ANSI Z-53.1 |
| --- | --- | --- | --- |
| Manufacturer tabulated data sheets on site? |  |  | Proposed Excavation | White |
| Shoring inspected for defects/damage? |  |  | Electric Power Lines, Conduits, Lighting Cables | Red |
| Trench shield in use? |  |  | Potable Water | Blue |
| Speed shores in use? |  |  | Gas, Steam, Condensate, Oil Compressed Air | Yellow |
| Speed shores pumped to design pressure? |  |  | Telecommunications, Alarm or Signal Line | Orange |
| Plywood or sheeting to be used? |  |  | Temporary Survey Markings | Pink |
| SLOPING | Yes | No | Sewer and Storm Drains | Green |
| Type A soils at a minimum of 3/4:1 (53°)? |  |  | Reclaimed Water, Irrigation, Chilled Lines | Purple |
| Type B soils at a minimum of 1:1 (45°)? |  |  | Other | Light Blue |
| Type C soils at a minimum of 1 1/2:1 (34°)? |  |  | LACCD Regional Safety Manager Signature: |
| BENCHING | Yes | No |  |
| Type A and B soils benched? (NO Type C) |  |  |  |
| Max height of Type B soil bench 4’? |  |  |  | PLEASE SIGN |  | DATE |  |

Name of Personnel authorized to enter the Excavation / Trench: